**Deck-mounted, swivelling, tubular spout H. 260mm L. 300mm**

Spout H.260 L.300

Swivelling, tubular spout

Reference: **1306T3**

Specification description

Swivelling, tubular spout, Ø 22mm, on a M1/2" base.

Chrome-plated brass spout H. 260mm L. 300mm.

Smooth interior reduces bacterial development.

Suitable for fitting a terminal filter.

Scale-resistant flow straightener.

30-year warranty.