**Inlet nozzle for Squat WCs**

Ø 28-32mm for direct flush

Reference: **827032**

Specification description

Inlet nozzle for Squat WC, L. 44mm Ø 28/32mm.

Ø 28-32mm for direct flush.

30-year warranty.