**Recessed waste bin with flap**

For recessed installation

Polished satin 304 stainless steel

Reference: **510713S**

Specification description

Recessed stainless steel waste bin.

Polished satin bacteriostatic 304 stainless steel.

PUSH lid.

Locking door with standard DELABIE key.

Concealed fixings.

Capacity 18 litres.

Stainless steel 1.2mm thick.

Dimensions: 100 x 360 x 710mm.

30-year warranty.