**Black pre-rinse set with no valve**

Without bib tap

Black flexible and scale-resistant hand spray

Reference: **433720**

Specification description

Black pre-rinse set without valve suitable for intensive use in professional kitchens.

Without bib tap.

Black hand spray with adjustable jet and 9 lpm flow rate at the outlet (ref. 433010).

Scale-resistant hand spray with shock-resistant tip.

Black reinforced food-grade flexible hose L. 0.95m.

3/4" long brass column.

Adjustable wall bracket.

Stainless steel spring guide.

30-year warranty.

This pre-rinse set, with no water control valve, comprises spare parts for repairing pre-rinse sets.