**ECO straight grab bar Ø 25mm, 400mm**

304 bright polished stainless steel

Ø 25mm, visible fixings

Reference: **531**

Specification description

ECO straight grab bar for people with reduced mobility.

Ø 25mm tube, 400mm centres.

Grab bar made from bright polished 304 stainless steel.

Visible fixings, secured to wall by a 3-hole plate.

30-year warranty.