Sliding shower head holder for shower rails, Ø 32mm, white

Bright white HR Nylon

Reference: 510110

Specification description

Shower head holder for support rails.

High strength polyamide (HR Nylon).

Bright white.

Support for adjustable shower heads.

Ergonomic locking ring.

Anti-bacterial treatment: optimal protection against bacterial development

For Ø 32mm shower rails.

30-year warranty.