U-shaped toilet roll holder with spindle

Toilet roll holder

Reference: 4081N

Specification description

Wall-mounted U-shaped toilet roll holder.

NylonClean anti-bacterial treatment: optimal protection against bacterial development.

Toilet roll holder.

White, high strength polyamide (Nylon).

Ø 20mm tube.

Concealed fixings.

30-year warranty.