Dispenser and bin

for hygienic bags

Bright polished stainless steel

Reference: 2561D

Specification description

Dispenser and bin for hygienic bags.

Stainless steel bin with flap on top.

Hygienic bag dispenser beneath.

Bin capacity: 9 litres.

Hinged cover with lock and standard DELABIE key.

Wall mounted.

Bright polished stainless steel finish.

Stainless steel thickness: 1mm.

Dimensions: 123 x 250 x 350mm.

30-year warranty.