Wall-mounted paper towel dispenser, for 750 sheets

For folded paper towels

Polished satin 304 stainless steel

Reference: 6607D

Specification description

Wall-mounted paper towel dispenser.

Bacterostatic 304 stainless steel with polished satin finish.

Paper towel dispenser with lock and standard DELABIE key.

With level control.

Capacity 750 sheets.

Stainless steel thickness: 1mm.

Dimensions: 130 x 275 x 450mm.

Pack of folded paper towels can be ordered separately (ref. 6606).

Paper towel dimensions: open 230 x 250mm, folded 115 x 250mm.

Paper towel dispenser with 30-year warranty.