Hand dryer automatically activated by optical cell, white ABS

Optical cell

White ABS

Reference: 6621

Specification description

Automatic hand dryer.

Automatically activated by optical cell.

White ABS cover.

Dimensions: 140 x 216 x 318mm.

Weight: 3.8kg.

Power: 1960 W. 50 Hz.

Air flow: 65 l/sec.

Low noise level: 58 dBA.

Class II, IPX1.

CE, TÜV GS.

Warranty: 3 years.