**Liquid soap dispenser**

Liquid soap dispenser for service ducts

Chrome-plated brass

Reference: **729150**

Specification description

Wall-mounted liquid soap dispenser.

Vandal-resistant model for installation in service ducts, for walls up to 190mm.

Liquid soap dispenser.

Chrome-plated brass body and push-button.

Non-drip system (waterproof).

Mechanism can be locked via grub screw.

For remote tanks (tank not supplied) supplied with a 1.20m flexible tube.

Wall-mounted soap dispenser with 30-year warranty.