**Connecting tube**

Cut-to-size

Length 600mm

Reference: **2396**

Specification description

Cut-to-size connecting tube for shower curtain rails.

Bright polished 304 stainless steel, 1mm thick.

Tube length 600mm, Ø 20mm.

Longer tubes available on request.

30-year warranty.