Waste with valve

Chrome-plated stainless steel waste 1 1/4"

Reference: 620

Specification description

Chrome-plated stainless steel waste with valve, 1 1/4".