**Disposable BIOCLIP spout**

Spout L. 125mm Ø22mm for mixers with removable spouts

15 per pack

Reference: **20015**

Specification description

BIOCLIP removable disposable spout in recyclable Hostaform® L. 125mm, Ø22mm.

Star-shaped flow straightener.

Body and spout with smooth interiors reduces bacterial development.

Compatible with all mixers/taps with BIOCLIP spout.

Supplied in box of 15 pieces individually wrapped.