Wall-mounted base with BIOCLIP removable spout

For mounting on panels

Disposable spout

Reference: 1801T2

Specification description

Base only with removable BIOCLIP spout, order a non-contact control (knee-operated, foot-operated, electronic control, etc.) to complete.

Supplied with 1 disposable, recyclable Hostaform® spout with star-shaped flow straightener. Order 10 BIOFIL spout filters (ref. 20040.10P/30040.10P) to complete to provide immediate protection against waterborne infection, or 2 stainless steel spouts (ref. 20002) for full, internal cleaning/descaling, or 15 disposable spouts (ref. 20015).

Ø 60mm chrome-plated brass base for mounting on panels < 20mm.

Spout and base with smooth interiors (reduce niches where bacteria can develop).

30-year warranty.