M1/2" stopcock

Integrated back flow prevention device

Reference: 158100

Specification description

M1/2" stopcock.

1/4-turn ceramic valve head.

Integrated backflow prevention device and non-return valve (anti-pollution protection).

Chrome-plated brass body.

30-year warranty.