**White, reinforced PVC flexible hose**

L. 0.80m

Reference: **434080**

Specification description

White, opaque, reinforced PVC flexible hose, FF1/2" L. 0.80 m.

Prevents the development of germs or algae due to the light.

Rotating nuts FF1/2" prevent the flexible from twisting.

Pre-mounted unions provide a waterproof seal.