TEMPOSTOP time flow tap

Wall-mounted, 3/8"

Reference: 744000

Specification description

Wall-mounted time flow basin tap:

Time flow ~7 seconds.

Flow rate pre-set at 3 lpm at 3 bar, can be adjusted from 1.4 to 6 lpm.

Tamperproof scale-resistant flow straightener.

Chrome-plated brass body M3/8".

30-year warranty.