**Swivel swan neck spout**

L.200mm, H.200mm

Deck-mounted

Reference: **967202**

Specification description

Swan neck spout M½".

L. 200mm, H. 200mm.

Fixing by back-nut.

Chrome-plated brass.

Scale-resistant flow straightener regulated at 3 lpm.

30-year warranty.