Fixed spout with plate

L. 120mm

Wall-mounted

Reference: 947135

Specification description

Wall-mounted spout Ø 32mm, M½".

L. 120mm.

Chrome-plated solid brass.

Flow straightener regulated at 3 lpm.

30-year warranty.