**ROUND shower head**

Scale-resistant

Recessed

Reference: **709000**

Specification description

Fixed shower head:

Recessed inlet installation.

Flow rate 6 lpm at 3 bar.

Automatic flow rate regulation.

Scale-resistant and ligature-resistant with adjustable nozzle.

Chrome-plated solid brass.

Fixed with concealed blocking screw.

Systematically drains after use (no water retention or impurity deposits).

Inlet M½".

30-year warranty.