GYM COMFORT shower head

With grid

Ceiling-mounted, Ø 68mm

Reference: 711002

Specification description

Adjustable ceiling-mounted shower head.

Scale-resistant.

30 lpm at 3 bar without flow limiter.

EXTRA F½", Ø 68mm

30-year warranty.