Shower arm

Reference: 710000

Specification description

Chrome-plated brass shower arm.

MM1/2".

L.95mm

30-year warranty.