Shower head

With grid

Chrome-plated large rim, Ø 80mm

Reference: 715000

Specification description

Ceiling-mounted shower head:

Fixed and tamperproof.

With chrome-plated large rim.

Ø 80mm.

30-year warranty.