In-line STOP union

With stopcock

MF1/2"

Reference: 825015

Specification description

Integrated stopcock.

Nickel-plated brass.

MF½’’.

L.35mm.

Without nut.

30-year warranty.