**Transformer**

Without housing

1-5 TEMPOMATIC

Reference: **406000**

Specification description

Transformer 230/12V for mains electrical supply.

No cover (without housing) adjustable on DIN rail.

L. 35mm.

30-year warranty.