Transformer

In waterproof recessing housing

1-5 TEMPOMATIC

Reference: 406220

Specification description

Transformer 230/12V.

In grey PVC waterproof box (200 x 160 x 92)with bipolar switch.