Neck tube

Neck tube for standard or siphon action urinal

F½", Ø 35mm

Reference: 752000

Specification description

Feed pipe for standard or siphon action urinal:

F1/2" Ø 35.

DURAVIT Duravit No.1, Jim, Me by Starck.

GEBERIT Renova Trigonal.

ROCA Chic, Euret, Mini, Spun.

VILLEROY & BOCH O.Novo, Arkitek

30-year warranty.