Neck tube

For urinal ALLIA/GEBERIT Aubagne ou SELLES 8418

F1/2"

Reference: 751000

Specification description

F1/2" neck tube with water nozzle specific to GEBERIT "Aubagne" urinals.

F1/2"

30-year warranty.