Urinal union

For siphon or standard urinal

M½", Ø 35mm

Reference: 758035

Specification description

Recessed union for urinals:

M½", Ø 35mm.

30-year warranty.