**Neck tube**

For JACOB DELAFON stalls

F½"

Reference: **756230**

Specification description

Neck tube with water nozzle for stall:

JACOB DELAFON "Murale 2-N498" or "Boissière 2-N478".

F½".

30-year warranty.