Flush tube

For WC pan with TEMPOCHASSE 1"1/4

Bright stainless steel

Reference: 766001

Specification description

Flush tube for WC pans.

For exposed TEMPOCHASSE.

Flush tube Ø 32mm with nut 1 1/4".

Collar and connection washer Ø 32/55mm with clamp.

Bright polished stainless steel L. 205mm, H. 670mm.

30-year warranty.