**Water nozzle**

For squat WC pan

For Ø 32mm tube

Reference: **702032**

Specification description

Water nozzle for squat WCs:

Chrome-plated brass.

For flush tube Ø 32mm.

30-year warranty.