**Telescopic swivelling spout**

L. 300 - 470mm

Rapid-fill spout

Reference: **966380**

Specification description

Telescopic swivelling spout L. 300 - 470mm.

F3/4''.

Chrome-plated solid brass.

Scale-resistant flow straightener.

Suitable for mounting above or below a wall-mounted mixer.