Swivelling, tubular spout

Spout H. 140mm L. 150mm

Reference: 1306T1

Specification description

Swivelling, tubular spout, Ø 22mm, on a M1/2" base.

Chrome-plated brass spout H. 140mm L. 150mm.

Smooth interior reduces bacterial development.

Suitable for fitting a terminal filter.

Scale-resistant flow straightener regulated at 3 lpm at 3 bar.

30-year warranty.