**Swivelling, tubular spout**

Spout H. 260mm L. 200mm

Reference: **1306T2**

Specification description

Swivelling, tubular spout, Ø 22mm, on a M1/2" base.

Chrome-plated brass spout H. 260mm L. 200mm.

Smooth interior reduces bacterial development.

Suitable for fitting a terminal filter.

Scale-resistant flow straightener regulated at 3 lpm.

30-year warranty.