

Pillar tap
With swivelling spout
Long-Life valve head, M1/2"

Reference: D2553


Specification description

Pillar tap with Long-Life valve head. 

DELTA chrome-plated control knob. 

Swivelling tubular spout Ø 22mm. 

H. 190mm, L. 150mm. 

Scale-resistant flow straightener regulated to 3 lpm. 

Body and spout in chrome-plated brass. 

30-year warranty.
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