Washing machine tap

Wall-mounted

Valve head, M1/2" - M3/4"

Reference: D276020

Specification description

Wall-mounted tap with valve head.

DELTA chrome-plated control knob.

To supply washing machines.

Integrated non-return valve provides backflow protection.

M1/2" - M3/4".

Chrome-plated brass body.

30-year warranty.