**Water hammer absorber**

Water hammer absorber F1/2"

H. 90mm

Reference: **23015**

Specification description

Water hammer absorber with stainless steel spring and piston.

Rough cast brass.

Absorbs the smallest pressure variations and water hammer up to 20 bar.

F1/2", H. 90mm.

30-year warranty.