**TEMPOSTOP time flow pillar tap, swan neck spout control lever L200mm**

With lever control

Reference: **737202**

Specification description

Deck-mounted time flow basin tap.

Swivelling swan neck spout L. 200mm.

Scale-resistant flow straightener pre-set at 3 lpm.

Adjustable flow rate.

Lever control.

Automatic timed shut-off ~3 seconds (7 or 15 seconds available on request).

Fixing with back-nut.

30-year warranty.