**Solenoid valve 1" for WCs**

For TEMPOMATIC multifunction unit

Reference: **463SRH**

Specification description

Solenoid valve 1" for WC: vacuum breaker, stopcock and flow rate adjuster.

30-year warranty.