Solenoid valve 1" for WCs

For TEMPOMATIC multifunction unit

Reference: 463SRH

Specification description

Solenoid valve 1" for WC: vacuum breaker, stopcock and flow rate adjuster.

30-year warranty.