**Star-shaped flow straightener**

M24/100

50 per pack

Reference: **921024.50P**

Specification description

Star-shaped flow straightener with no grid, reduces bacterial development: no water retention or build-up of impurities.

M24/100.

Supplied in packs of 50.