Neck tube

For ALLIA/GEBERIT or SELLES urinal stalls

F1/2"

Reference: 756000

Specification description

Neck tube with water nozzle for stall:

ALLIA/GEBERIT "Montceau 007350" or SELLES "452".

F1/2".

30-year warranty.