**Urinal outlet**

With nut Ø 32mm

1"1/4

Reference: **309000**

Specification description

Urinal outlet.

Inlet Ø 50mm with compression seal.

Outlet M1 1/4".

Chrome-plated brass.