Wall fixings

For TEMPOFIX 3 frame system

Reference: 578MUR

Specification description

Upper fixings kit for TEMPOFIX 3 WC frame system:

2 chrome-plated metal wall fixings, for reinforcement of the upper part of the frame system.

For installation when floor is non-load bearing.

30-year warranty.