Recessed combi hand dryer and paper towel dispenser/bin

For recessed installation

Polished satin 304 stainless steel

Reference: 510716S

Specification description

Recessed Combi hand dryer and paper towel dispenser/bin.

Polished satin bacteriostatic 304 stainless steel.

With locking door and standard DELABIE key.

Concealed fixings.

Dispenser capacity: 400 - 600 towels.

Electrical hand dryer: 1,800W; IP23; 3-year warranty; CE marked.

Recessed stainless steel waste bin capacity: 15 litres.

Stainless steel thickness: 1.2mm.

Dimensions: 160 x 395 x 1,420mm.

30-year warranty