**Recessed paper towel dispenser**

For recessed installation

Polished satin 304 stainless steel

Reference: **510712S**

Specification description

Recessed paper towel dispenser.

Polished satin 304 bacteriostatic stainless steel.

Locking door with standard DELABIE key.

Concealed fixings.

Capacity: 400 - 600 towels.

Stainless steel 1.2mm thick.

Dimensions: 122 x 328 x 435mm.

30-year warranty.