**Splashback 1800mm for CANAL wash trough**

Polished satin 304 stainless steel - L. 1800mm

Reference: **100280**

Specification description

Splashback for CANAL wash trough.

Bacteriostatic 304 stainless steel.

Polished satin finish.

Stainless steel thickness: 1.2mm.

Length: 1,800mm.

[Formerly ref: 0011800005]