Splashback 2400mm for CANAL wash trough

Polished satin 304 stainless steel - L. 2400mm

Reference: 100300

Specification description

Splashback for CANAL wash trough.

Bacteriostatic 304 stainless steel.

Polished satin finish.

Stainless steel thickness: 1.2mm.

Length: 2,400mm.

[Formerly ref: 0011800007]